## Slide 1: Designing Exchange 2010 Mailbox High Availability for Failure Domains
Ross Smith IV
Principal Program Manager, Exchange Server
Microsoft Corporation

## Slide 2: Agenda
Discuss what failure domains are
Discuss how to lay out database copies symmetrically
Apply failure domains to database copy layout principles
Allow enough time for maintenance to clean the room after our heads explode!

## Slide 3: Failure Domains

## Slide 4: Failure Domains
Each infrastructure component within the architecture can affect the availability of the solution
  Active Directory
  Network components like routers and switches
  Storage components like disks and controllers
  Servers
  Racks
  Power
  Etc.
Each component represents potential points of failure, thus each can be referred to as a failure domain
Notes: Failure: inability to achieve desired results
Domain: area of responsibility

## Slide 5: Failure Domains
It is critical in any design to identify failure points that can impact the availability of the solution
  Important: Identifying and mitigating are two separate steps!
Once failure domains are identified, document the risk to the solution
If failure domain represents a significant risk, mitigate it

## Slide 6: Failure Domain Example 1
Scenario: Customer deployed E2010 in a single datacenter. Recently a power outage event caused the entire messaging architecture to fail
Failure Domain: Power Bus
Risk: Power Bus is a single point of failure for the messaging environment
Mitigation Options
  Spread E2010 servers across multiple power buses within single datacenter
  Spread Mailbox servers across multiple datacenters within the same building
  Deploy site resilient architecture

## Slide 7: Failure Domain Example 2
Scenario: Customer is planning to deploy all Mailbox server data on a storage area network (SAN) that leverages de-duplication capabilities
Failure Domain: SAN array
Risk: Placement of all database copies on the same volume to maximize data de-duplication capability
Mitigation Options
  Spread Mailbox server data across multiple SAN arrays and volumes
  Use a combination of SAN and DAS to provide copy isolation
  Deploy site resilient architecture

## Slide 8: Failure Domain Example 3
Scenario: Customer deployed Exchange infrastructure in a single datacenter. Users are located in other locations but are connected to datacenter via redundant links
Failure Domain: single datacenter
Risk: Loss of network links means users cannot access messaging data
Mitigation Options
  Deploy site resilient architecture
  Ensure network links are separate and not exposed

## Slide 9: Database Copy Layout

## Slide 10: Database Copy Layout Principles
Make sure that you minimize multiple database copy failures of a mailbox database by isolating each copy from one another and placing them in different failure domains
Lay out the database copies in a consistent, distributed fashion to make sure that the active mailbox databases are evenly distributed after a failure
  The sum of the activation preferences of each database copy on any specific server must be equal or close to equal

## Slide 11: Database Copy Layout Scenario
Example:
  5 member DAG with 3 database copies per database
Goals:
  Survive two failure events
  Provide symmetric database layout that ensures even distribution of active database copies across DAG member servers during normal and failure conditions

## Slide 12: Step 1: Place active copies (Copy 1)
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 |  |  |  | 
DB 2 |  | Copy 1 |  |  | 
DB 3 |  |  | Copy 1 |  | 
DB 4 |  |  |  | Copy 1 | 
DB 5 |  |  |  |  | Copy 1
DB 6 | Copy 1 |  |  |  | 
DB 7 |  | Copy 1 |  |  | 
DB 8 |  |  | Copy 1 |  | 
DB 9 |  |  |  | Copy 1 | 
DB 10 |  |  |  |  | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 |  |  |  | 
DB 2 |  | Copy 1 |  |  | 
DB 3 |  |  | Copy 1 |  | 
DB 4 |  |  |  | Copy 1 | 
DB 5 |  |  |  |  | Copy 1
Spread active databases evenly across all servers
Since this architecture is utilizing five servers, Copy 1 for each database is arranged in a pattern of five
The “building block” is 5 databases, which is known as the Level 1 Building Block
  Repeat this pattern for each group of 5 databases

## Slide 13: Step 2: Place second copies (Copy 2)
For each server hosting active copies, spread Copy 2 evenly across all remaining servers
  Remember, multiple copies of the same database cannot reside on the same server
Given the above tenet, our new building block is 5 * (5-1) = 5 * 4 = 20
  We have four options (compare databases 1, 6, 11, 16)
  This is the Level 2 Building Block
  Deploying a multiple of 20 databases ensures a symmetrical copy architecture for this scenario
Since the building block is 20, for each group of 5 databases, we continue to offset Copy 2’s starting placement by 1 server (with respect to Copy 1)
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 |  |  | 
DB 2 |  | Copy 1 | Copy 2 |  | 
DB 3 |  |  | Copy 1 | Copy 2 | 
DB 4 |  |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 |  |  |  | Copy 1
DB 6 | Copy 1 |  |  |  | 
DB 7 |  | Copy 1 |  |  | 
DB 8 |  |  | Copy 1 |  | 
DB 9 |  |  |  | Copy 1 | 
DB 10 |  |  |  |  | Copy 1
DB 11 | Copy 1 |  |  |  | 
DB 12 |  | Copy 1 |  |  | 
DB 13 |  |  | Copy 1 |  | 
DB 14 |  |  |  | Copy 1 | 
DB 15 |  |  |  |  | Copy 1
DB 16 | Copy 1 |  |  |  | 
DB 17 |  | Copy 1 |  |  | 
DB 18 |  |  | Copy 1 |  | 
DB 19 |  |  |  | Copy 1 | 
DB 20 |  |  |  |  | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 |  |  | 
DB 2 |  | Copy 1 | Copy 2 |  | 
DB 3 |  |  | Copy 1 | Copy 2 | 
DB 4 |  |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 |  |  |  | Copy 1
DB 6 | Copy 1 |  | Copy 2 |  | 
DB 7 |  | Copy 1 |  | Copy 2 | 
DB 8 |  |  | Copy 1 |  | Copy 2
DB 9 | Copy 2 |  |  | Copy 1 | 
DB 10 |  | Copy 2 |  |  | Copy 1
DB 11 | Copy 1 |  |  |  | 
DB 12 |  | Copy 1 |  |  | 
DB 13 |  |  | Copy 1 |  | 
DB 14 |  |  |  | Copy 1 | 
DB 15 |  |  |  |  | Copy 1
DB 16 | Copy 1 |  |  |  | 
DB 17 |  | Copy 1 |  |  | 
DB 18 |  |  | Copy 1 |  | 
DB 19 |  |  |  | Copy 1 | 
DB 20 |  |  |  |  | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 |  |  | 
DB 2 |  | Copy 1 | Copy 2 |  | 
DB 3 |  |  | Copy 1 | Copy 2 | 
DB 4 |  |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 |  |  |  | Copy 1
DB 6 | Copy 1 |  | Copy 2 |  | 
DB 7 |  | Copy 1 |  | Copy 2 | 
DB 8 |  |  | Copy 1 |  | Copy 2
DB 9 | Copy 2 |  |  | Copy 1 | 
DB 10 |  | Copy 2 |  |  | Copy 1
DB 11 | Copy 1 |  |  | Copy 2 | 
DB 12 |  | Copy 1 |  |  | Copy 2
DB 13 | Copy 2 |  | Copy 1 |  | 
DB 14 |  | Copy 2 |  | Copy 1 | 
DB 15 |  |  | Copy 2 |  | Copy 1
DB 16 | Copy 1 |  |  |  | 
DB 17 |  | Copy 1 |  |  | 
DB 18 |  |  | Copy 1 |  | 
DB 19 |  |  |  | Copy 1 | 
DB 20 |  |  |  |  | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 |  |  | 
DB 2 |  | Copy 1 | Copy 2 |  | 
DB 3 |  |  | Copy 1 | Copy 2 | 
DB 4 |  |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 |  |  |  | Copy 1
DB 6 | Copy 1 |  | Copy 2 |  | 
DB 7 |  | Copy 1 |  | Copy 2 | 
DB 8 |  |  | Copy 1 |  | Copy 2
DB 9 | Copy 2 |  |  | Copy 1 | 
DB 10 |  | Copy 2 |  |  | Copy 1
DB 11 | Copy 1 |  |  | Copy 2 | 
DB 12 |  | Copy 1 |  |  | Copy 2
DB 13 | Copy 2 |  | Copy 1 |  | 
DB 14 |  | Copy 2 |  | Copy 1 | 
DB 15 |  |  | Copy 2 |  | Copy 1
DB 16 | Copy 1 |  |  |  | Copy 2
DB 17 | Copy 2 | Copy 1 |  |  | 
DB 18 |  | Copy 2 | Copy 1 |  | 
DB 19 |  |  | Copy 2 | Copy 1 | 
DB 20 |  |  |  | Copy 2 | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 |  |  | 
DB 2 |  | Copy 1 | Copy 2 |  | 
DB 3 |  |  | Copy 1 | Copy 2 | 
DB 4 |  |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 |  |  |  | Copy 1
DB 6 | Copy 1 |  | Copy 2 |  | 
DB 7 |  | Copy 1 |  | Copy 2 | 
DB 8 |  |  | Copy 1 |  | Copy 2
DB 9 | Copy 2 |  |  | Copy 1 | 
DB 10 |  | Copy 2 |  |  | Copy 1
DB 11 | Copy 1 |  |  | Copy 2 | 
DB 12 |  | Copy 1 |  |  | Copy 2
DB 13 | Copy 2 |  | Copy 1 |  | 
DB 14 |  | Copy 2 |  | Copy 1 | 
DB 15 |  |  | Copy 2 |  | Copy 1
DB 16 | Copy 1 |  |  |  | Copy 2
DB 17 | Copy 2 | Copy 1 |  |  | 
DB 18 |  | Copy 2 | Copy 1 |  | 
DB 19 |  |  | Copy 2 | Copy 1 | 
DB 20 |  |  |  | Copy 2 | Copy 1

## Slide 14: Step 3: Place third copies (Copy 3)
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 | Copy 3 |  | 
DB 2 |  | Copy 1 | Copy 2 | Copy 3 | 
DB 3 |  |  | Copy 1 | Copy 2 | Copy 3
DB 4 | Copy 3 |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 | Copy 3 |  |  | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 41 | Copy 1 | Copy 2 |  |  | Copy 3
DB 42 | Copy 3 | Copy 1 | Copy 2 |  | 
DB 43 |  | Copy 3 | Copy 1 | Copy 2 | 
DB 44 |  |  | Copy 3 | Copy 1 | Copy 2
DB 45 | Copy 2 |  |  | Copy 3 | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 21 | Copy 1 | Copy 2 |  | Copy 3 | 
DB 22 |  | Copy 1 | Copy 2 |  | Copy 3
DB 23 | Copy 3 |  | Copy 1 | Copy 2 | 
DB 24 |  | Copy 3 |  | Copy 1 | Copy 2
DB 25 | Copy 2 |  | Copy 3 |  | Copy 1
For each combination of Copies 1 and 2, spread Copy 3 evenly across all remaining servers
  Remember, multiple copies of the same database cannot reside on the same server
Given the above tenet, our new building block is 5 * (5-1) * (5-2) = 5 * 4 * 3 = 60
  We have three options (compare databases 1, 21, 41)
  This is the Level 3 Building Block
  Deploying a multiple of 60 databases ensures a symmetrical copy architecture for this scenario
Since the building block is 60, for each group of 20 databases, we continue to offset Copy 3’s starting placement by 1 server (with respect to Copy 2)
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 | Copy 3 |  | 
DB 2 |  | Copy 1 | Copy 2 | Copy 3 | 
DB 3 |  |  | Copy 1 | Copy 2 | Copy 3
DB 4 | Copy 3 |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 | Copy 3 |  |  | Copy 1
DB 6 | Copy 1 |  | Copy 2 |  | 
DB 7 |  | Copy 1 |  | Copy 2 | 
DB 8 |  |  | Copy 1 |  | Copy 2
DB 9 | Copy 2 |  |  | Copy 1 | 
DB 10 |  | Copy 2 |  |  | Copy 1
DB 11 | Copy 1 |  |  | Copy 2 | 
DB 12 |  | Copy 1 |  |  | Copy 2
DB 13 | Copy 2 |  | Copy 1 |  | 
DB 14 |  | Copy 2 |  | Copy 1 | 
DB 15 |  |  | Copy 2 |  | Copy 1
DB 16 | Copy 1 |  |  |  | Copy 2
DB 17 | Copy 2 | Copy 1 |  |  | 
DB 18 |  | Copy 2 | Copy 1 |  | 
DB 19 |  |  | Copy 2 | Copy 1 | 
DB 20 |  |  |  | Copy 2 | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 | Copy 3 |  | 
DB 2 |  | Copy 1 | Copy 2 | Copy 3 | 
DB 3 |  |  | Copy 1 | Copy 2 | Copy 3
DB 4 | Copy 3 |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 | Copy 3 |  |  | Copy 1
DB 6 | Copy 1 |  | Copy 2 | Copy 3 | 
DB 7 |  | Copy 1 |  | Copy 2 | Copy 3
DB 8 | Copy 3 |  | Copy 1 |  | Copy 2
DB 9 | Copy 2 | Copy 3 |  | Copy 1 | 
DB 10 |  | Copy 2 | Copy 3 |  | Copy 1
DB 11 | Copy 1 |  |  | Copy 2 | 
DB 12 |  | Copy 1 |  |  | Copy 2
DB 13 | Copy 2 |  | Copy 1 |  | 
DB 14 |  | Copy 2 |  | Copy 1 | 
DB 15 |  |  | Copy 2 |  | Copy 1
DB 16 | Copy 1 |  |  |  | Copy 2
DB 17 | Copy 2 | Copy 1 |  |  | 
DB 18 |  | Copy 2 | Copy 1 |  | 
DB 19 |  |  | Copy 2 | Copy 1 | 
DB 20 |  |  |  | Copy 2 | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 | Copy 3 |  | 
DB 2 |  | Copy 1 | Copy 2 | Copy 3 | 
DB 3 |  |  | Copy 1 | Copy 2 | Copy 3
DB 4 | Copy 3 |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 | Copy 3 |  |  | Copy 1
DB 6 | Copy 1 |  | Copy 2 | Copy 3 | 
DB 7 |  | Copy 1 |  | Copy 2 | Copy 3
DB 8 | Copy 3 |  | Copy 1 |  | Copy 2
DB 9 | Copy 2 | Copy 3 |  | Copy 1 | 
DB 10 |  | Copy 2 | Copy 3 |  | Copy 1
DB 11 | Copy 1 |  |  | Copy 2 | Copy 3
DB 12 | Copy 3 | Copy 1 |  |  | Copy 2
DB 13 | Copy 2 | Copy 3 | Copy 1 |  | 
DB 14 |  | Copy 2 | Copy 3 | Copy 1 | 
DB 15 |  |  | Copy 2 | Copy 3 | Copy 1
DB 16 | Copy 1 |  |  |  | Copy 2
DB 17 | Copy 2 | Copy 1 |  |  | 
DB 18 |  | Copy 2 | Copy 1 |  | 
DB 19 |  |  | Copy 2 | Copy 1 | 
DB 20 |  |  |  | Copy 2 | Copy 1
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5
DB 1 | Copy 1 | Copy 2 | Copy 3 |  | 
DB 2 |  | Copy 1 | Copy 2 | Copy 3 | 
DB 3 |  |  | Copy 1 | Copy 2 | Copy 3
DB 4 | Copy 3 |  |  | Copy 1 | Copy 2
DB 5 | Copy 2 | Copy 3 |  |  | Copy 1
DB 6 | Copy 1 |  | Copy 2 | Copy 3 | 
DB 7 |  | Copy 1 |  | Copy 2 | Copy 3
DB 8 | Copy 3 |  | Copy 1 |  | Copy 2
DB 9 | Copy 2 | Copy 3 |  | Copy 1 | 
DB 10 |  | Copy 2 | Copy 3 |  | Copy 1
DB 11 | Copy 1 |  |  | Copy 2 | Copy 3
DB 12 | Copy 3 | Copy 1 |  |  | Copy 2
DB 13 | Copy 2 | Copy 3 | Copy 1 |  | 
DB 14 |  | Copy 2 | Copy 3 | Copy 1 | 
DB 15 |  |  | Copy 2 | Copy 3 | Copy 1
DB 16 | Copy 1 | Copy 3 |  |  | Copy 2
DB 17 | Copy 2 | Copy 1 | Copy 3 |  | 
DB 18 |  | Copy 2 | Copy 1 | Copy 3 | 
DB 19 |  |  | Copy 2 | Copy 1 | Copy 3
DB 20 | Copy 3 |  |  | Copy 2 | Copy 1

## Slide 15: Step 4: Placing the Fourth Copies…so on
If we need more copies, follow the same pattern: for each combination of Copies 1, 2, and 3, spread Copy 4 evenly across all remaining servers
  Our new building block is 5 * (5-1) * (5-2) * (5-3) = 5 * 4 * 3 * 2 = 120
  We have two options (compare databases 1 and 61)
  This is the Level 4 Building Block
  Deploying a multiple of 120 databases ensures a symmetrical copy architecture for this scenario

## Slide 16: Permutations
The “building block” calculations become obvious as you realize that we are actually building all possible permutations of 3 database copies across 5 available servers: Perm(5,3) = 60
  You can use PERMUT function in Excel to calculate
The formula to calculate the number of permutations is:
  Perm(N,M) = N×(N-1)×…×(N-M+1) = N!/(N-M)! = CNM × M!,
  where N=number of servers and M=number of database copies
  Here N! = 1×2×…×N (factorial), and CNM is number of combinations, another common object in combinatorial mathematics
Reference: http://en.wikipedia.org/wiki/Permutation

## Slide 17: Symmetrical Failure Scenarios
In case of a single server failure, there is an even distribution of the active database copies across the remaining servers
  This is because Copy 2 was evenly distributed
The same holds true, if a double failure event occurs
* Given that this is a 5 server, 3 copy design, Windows Failover Clustering requires a minimum of 3 votes for majority, therefore a triple failure event here is not automatic (you would have to use the site resilient cmdlets to recover the remaining members)
  In this case, there will be a portion of the databases that cannot be activated as a result of three failure events
Failure Scenarios | Server 1 | Server 2 | Server 3 | Server 4 | Server 5 | Total Active DBs | DB Outages
No Failures | 12 | 12 | 12 | 12 | 12 | 60 | None
Single Failure | X | 15 | 15 | 15 | 15 | 60 | None
Double Failure | X | X | 20 | 20 | 20 | 60 | None
Triple Failure* | X | X | X | 27 | 27 | 54 | 6
Notes: 10% failure case in the tripe failure scenario

## Slide 18: Failure Scenarios
Let’s track failure scenarios on a simple example…
Consider 4-server DAG with 2 database copies – which means 4x3=12 databases
Normal operating conditions – each server hosts 3 active and 3 passive copies
Building block is 4x3=12
We have fully symmetric design!
Single server failure
E.g. server 1 is lost
Now each surviving server hosts 4 active and 2 passive copies;
All databases are still available
Two servers failure
Now each surviving server hosts 5 active copies and 1 passive copy;
2 databases are dead because we lost all servers that had their copies
Notes: 16% failed in the double failure scenario

## Slide 19: Non-Symmetrical Distributions
If the total number of databases is not a multiple of the building block size, database distribution will NOT be symmetric
Therefore, activated database copies will not be precisely load balanced across remaining servers (but will be close)
  Also symmetry will vary depending on the number of failure events
For an example, check out http://technet.microsoft.com/en-us/library/ff973944.aspx

## Slide 20: Exchange 2010 Mailbox Server Role Requirements Calculator
demo

## Slide 21: Database Copy Layout with Failure Domains

## Slide 22: How Failure Domains affect DB Copy Layout
Each failure domain affects the database copy layout permutation formula
For example:
  If each database copy of a database is isolated from another, then the formula is N x (N-1)
  However, if the multiple copies (e.g., two) share the same failure domain (e.g., storage chassis), then the formula becomes N x (N-2)

## Slide 23: Failure Domain Scenario
All servers are deployed in a single datacenter
Servers are grouped in pairs
  Each pair of servers and their storage are placed in the same rack
  There are a total of 3 racks and 6 servers
The desire is to have three HA database copies and to survive two member server failures or one rack failure
Therefore, the formula is:
  6 x (6-2) x (6 -4) = 48 databases (144 database copies)
 | Node 1 | Node 2 | Node 3 | Node 4 | Node 5 | Node 6
DB 1 | Copy 1 |  |  |  |  | 
DB 2 |  | Copy 1 |  |  |  | 
DB 3 |  |  | Copy 1 |  |  | 
DB 4 |  |  |  | Copy 1 |  | 
DB 5 |  |  |  |  | Copy 1 | 
DB 6 |  |  |  |  |  | Copy 1
Notes: Example: 6 member, 6x4x2 = 48 databases design

## Slide 24: Failure Domain Scenario Copy 2 Placement
Level 2 Building block is 6x4=24 instead of 6x5=30, due to failure domain limitations: we only have 4 options for second copy placement
Compare Copy 2 placement for databases 1, 7, 13, and 19
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 |  |  |  |  | 
DB2 |  | Copy 1 |  |  |  | 
DB3 |  |  | Copy 1 |  |  | 
DB4 |  |  |  | Copy 1 |  | 
DB5 |  |  |  |  | Copy 1 | 
DB6 |  |  |  |  |  | Copy 1
DB7 | Copy 1 |  |  |  |  | 
DB8 |  | Copy 1 |  |  |  | 
DB9 |  |  | Copy 1 |  |  | 
DB10 |  |  |  | Copy 1 |  | 
DB11 |  |  |  |  | Copy 1 | 
DB12 |  |  |  |  |  | Copy 1
DB13 | Copy 1 |  |  |  |  | 
DB14 |  | Copy 1 |  |  |  | 
DB15 |  |  | Copy 1 |  |  | 
DB16 |  |  |  | Copy 1 |  | 
DB17 |  |  |  |  | Copy 1 | 
DB18 |  |  |  |  |  | Copy 1
DB19 | Copy 1 |  |  |  |  | 
DB20 |  | Copy 1 |  |  |  | 
DB21 |  |  | Copy 1 |  |  | 
DB22 |  |  |  | Copy 1 |  | 
DB23 |  |  |  |  | Copy 1 | 
DB24 |  |  |  |  |  | Copy 1
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- |  |  |  | 
DB2 | ---------- | Copy 1 |  |  |  | 
DB3 |  |  | Copy 1 | ---------- |  | 
DB4 |  |  | ---------- | Copy 1 |  | 
DB5 |  |  |  |  | Copy 1 | ----------
DB6 |  |  |  |  | ---------- | Copy 1
DB7 | Copy 1 | ---------- |  |  |  | 
DB8 | ---------- | Copy 1 |  |  |  | 
DB9 |  |  | Copy 1 | ---------- |  | 
DB10 |  |  | ---------- | Copy 1 |  | 
DB11 |  |  |  |  | Copy 1 | ----------
DB12 |  |  |  |  | ---------- | Copy 1
DB13 | Copy 1 | ---------- |  |  |  | 
DB14 | ---------- | Copy 1 |  |  |  | 
DB15 |  |  | Copy 1 | ---------- |  | 
DB16 |  |  | ---------- | Copy 1 |  | 
DB17 |  |  |  |  | Copy 1 | ----------
DB18 |  |  |  |  | ---------- | Copy 1
DB19 | Copy 1 | ---------- |  |  |  | 
DB20 | ---------- | Copy 1 |  |  |  | 
DB21 |  |  | Copy 1 | ---------- |  | 
DB22 |  |  | ---------- | Copy 1 |  | 
DB23 |  |  |  |  | Copy 1 | ----------
DB24 |  |  |  |  | ---------- | Copy 1
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 |  |  | 
DB2 | ---------- | Copy 1 |  | Copy 2 |  | 
DB3 |  |  | Copy 1 | ---------- | Copy 2 | 
DB4 |  |  | ---------- | Copy 1 |  | Copy 2
DB5 | Copy 2 |  |  |  | Copy 1 | ----------
DB6 |  | Copy 2 |  |  | ---------- | Copy 1
DB7 | Copy 1 | ---------- |  |  |  | 
DB8 | ---------- | Copy 1 |  |  |  | 
DB9 |  |  | Copy 1 | ---------- |  | 
DB10 |  |  | ---------- | Copy 1 |  | 
DB11 |  |  |  |  | Copy 1 | ----------
DB12 |  |  |  |  | ---------- | Copy 1
DB13 | Copy 1 | ---------- |  |  |  | 
DB14 | ---------- | Copy 1 |  |  |  | 
DB15 |  |  | Copy 1 | ---------- |  | 
DB16 |  |  | ---------- | Copy 1 |  | 
DB17 |  |  |  |  | Copy 1 | ----------
DB18 |  |  |  |  | ---------- | Copy 1
DB19 | Copy 1 | ---------- |  |  |  | 
DB20 | ---------- | Copy 1 |  |  |  | 
DB21 |  |  | Copy 1 | ---------- |  | 
DB22 |  |  | ---------- | Copy 1 |  | 
DB23 |  |  |  |  | Copy 1 | ----------
DB24 |  |  |  |  | ---------- | Copy 1
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 |  |  | 
DB2 | ---------- | Copy 1 |  | Copy 2 |  | 
DB3 |  |  | Copy 1 | ---------- | Copy 2 | 
DB4 |  |  | ---------- | Copy 1 |  | Copy 2
DB5 | Copy 2 |  |  |  | Copy 1 | ----------
DB6 |  | Copy 2 |  |  | ---------- | Copy 1
DB7 | Copy 1 | ---------- |  | Copy 2 |  | 
DB8 | ---------- | Copy 1 |  |  | Copy 2 | 
DB9 |  |  | Copy 1 | ---------- |  | Copy 2
DB10 | Copy 2 |  | ---------- | Copy 1 |  | 
DB11 |  | Copy 2 |  |  | Copy 1 | ----------
DB12 |  |  | Copy 2 |  | ---------- | Copy 1
DB13 | Copy 1 | ---------- |  |  |  | 
DB14 | ---------- | Copy 1 |  |  |  | 
DB15 |  |  | Copy 1 | ---------- |  | 
DB16 |  |  | ---------- | Copy 1 |  | 
DB17 |  |  |  |  | Copy 1 | ----------
DB18 |  |  |  |  | ---------- | Copy 1
DB19 | Copy 1 | ---------- |  |  |  | 
DB20 | ---------- | Copy 1 |  |  |  | 
DB21 |  |  | Copy 1 | ---------- |  | 
DB22 |  |  | ---------- | Copy 1 |  | 
DB23 |  |  |  |  | Copy 1 | ----------
DB24 |  |  |  |  | ---------- | Copy 1
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 |  |  | 
DB2 | ---------- | Copy 1 |  | Copy 2 |  | 
DB3 |  |  | Copy 1 | ---------- | Copy 2 | 
DB4 |  |  | ---------- | Copy 1 |  | Copy 2
DB5 | Copy 2 |  |  |  | Copy 1 | ----------
DB6 |  | Copy 2 |  |  | ---------- | Copy 1
DB7 | Copy 1 | ---------- |  | Copy 2 |  | 
DB8 | ---------- | Copy 1 |  |  | Copy 2 | 
DB9 |  |  | Copy 1 | ---------- |  | Copy 2
DB10 | Copy 2 |  | ---------- | Copy 1 |  | 
DB11 |  | Copy 2 |  |  | Copy 1 | ----------
DB12 |  |  | Copy 2 |  | ---------- | Copy 1
DB13 | Copy 1 | ---------- |  |  | Copy 2 | 
DB14 | ---------- | Copy 1 |  |  |  | Copy 2
DB15 | Copy 2 |  | Copy 1 | ---------- |  | 
DB16 |  | Copy 2 | ---------- | Copy 1 |  | 
DB17 |  |  | Copy 2 |  | Copy 1 | ----------
DB18 |  |  |  | Copy 2 | ---------- | Copy 1
DB19 | Copy 1 | ---------- |  |  |  | 
DB20 | ---------- | Copy 1 |  |  |  | 
DB21 |  |  | Copy 1 | ---------- |  | 
DB22 |  |  | ---------- | Copy 1 |  | 
DB23 |  |  |  |  | Copy 1 | ----------
DB24 |  |  |  |  | ---------- | Copy 1
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 |  |  | 
DB2 | ---------- | Copy 1 |  | Copy 2 |  | 
DB3 |  |  | Copy 1 | ---------- | Copy 2 | 
DB4 |  |  | ---------- | Copy 1 |  | Copy 2
DB5 | Copy 2 |  |  |  | Copy 1 | ----------
DB6 |  | Copy 2 |  |  | ---------- | Copy 1
DB7 | Copy 1 | ---------- |  | Copy 2 |  | 
DB8 | ---------- | Copy 1 |  |  | Copy 2 | 
DB9 |  |  | Copy 1 | ---------- |  | Copy 2
DB10 | Copy 2 |  | ---------- | Copy 1 |  | 
DB11 |  | Copy 2 |  |  | Copy 1 | ----------
DB12 |  |  | Copy 2 |  | ---------- | Copy 1
DB13 | Copy 1 | ---------- |  |  | Copy 2 | 
DB14 | ---------- | Copy 1 |  |  |  | Copy 2
DB15 | Copy 2 |  | Copy 1 | ---------- |  | 
DB16 |  | Copy 2 | ---------- | Copy 1 |  | 
DB17 |  |  | Copy 2 |  | Copy 1 | ----------
DB18 |  |  |  | Copy 2 | ---------- | Copy 1
DB19 | Copy 1 | ---------- |  |  |  | Copy 2
DB20 | ---------- | Copy 1 | Copy 2 |  |  | 
DB21 |  | Copy 2 | Copy 1 | ---------- |  | 
DB22 |  |  | ---------- | Copy 1 | Copy 2 | 
DB23 |  |  |  | Copy 2 | Copy 1 | ----------
DB24 | Copy 2 |  |  |  | ---------- | Copy 1

## Slide 25: Failure Domain Scenario Copy 3 Placement
Level 3 Building block is 6x4x2=48
Compare Copy 3 placement for databases 1 and 25
It is seen that failure domain constraints lead to smaller building block size
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 | ---------- |  | 
DB2 | --------- | Copy 1 | ---------- | Copy 2 |  | 
DB3 |  |  | Copy 1 | ---------- | Copy 2 | ----------
DB4 |  |  | ---------- | Copy 1 | ---------- | Copy 2
DB5 | Copy 2 | ---------- |  |  | Copy 1 | ----------
DB6 | --------- | Copy 2 |  |  | ---------- | Copy 1
DB7 | Copy 1 | ---------- | ---------- | Copy 2 |  | 
DB8 | --------- | Copy 1 |  |  | Copy 2 | ----------
DB9 |  |  | Copy 1 | ---------- | ---------- | Copy 2
DB10 | Copy 2 | ---------- | ---------- | Copy 1 |  | 
DB11 | --------- | Copy 2 |  |  | Copy 1 | ----------
DB12 |  |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
DB25 | Copy 1 | ---------- | Copy 2 | ---------- |  | 
DB26 | --------- | Copy 1 | ---------- | Copy 2 |  | 
DB27 |  |  | Copy 1 | ---------- | Copy 2 | ----------
DB28 |  |  | ---------- | Copy 1 | ---------- | Copy 2
DB29 | Copy 2 | ---------- |  |  | Copy 1 | ----------
DB30 | --------- | Copy 2 |  |  | ---------- | Copy 1
DB31 | Copy 1 | ---------- | ---------- | Copy 2 |  | 
DB32 | --------- | Copy 1 |  |  | Copy 2 | ----------
DB33 |  |  | Copy 1 | ---------- | ---------- | Copy 2
DB34 | Copy 2 | ---------- | ---------- | Copy 1 |  | 
DB35 | --------- | Copy 2 |  |  | Copy 1 | ----------
DB36 |  |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 | ---------- | Copy 3 | 
DB2 | --------- | Copy 1 | ---------- | Copy 2 |  | Copy 3
DB3 | Copy 3 |  | Copy 1 | ---------- | Copy 2 | ----------
DB4 |  | Copy 3 | ---------- | Copy 1 | ---------- | Copy 2
DB5 | Copy 2 | ---------- | Copy 3 |  | Copy 1 | ----------
DB6 | --------- | Copy 2 |  | Copy 3 | ---------- | Copy 1
DB7 | Copy 1 | ---------- | ---------- | Copy 2 |  | 
DB8 | --------- | Copy 1 |  |  | Copy 2 | ----------
DB9 |  |  | Copy 1 | ---------- | ---------- | Copy 2
DB10 | Copy 2 | ---------- | ---------- | Copy 1 |  | 
DB11 | --------- | Copy 2 |  |  | Copy 1 | ----------
DB12 |  |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
DB25 | Copy 1 | ---------- | Copy 2 | ---------- |  | 
DB26 | --------- | Copy 1 | ---------- | Copy 2 |  | 
DB27 |  |  | Copy 1 | ---------- | Copy 2 | ----------
DB28 |  |  | ---------- | Copy 1 | ---------- | Copy 2
DB29 | Copy 2 | ---------- |  |  | Copy 1 | ----------
DB30 | --------- | Copy 2 |  |  | ---------- | Copy 1
DB31 | Copy 1 | ---------- | ---------- | Copy 2 |  | 
DB32 | --------- | Copy 1 |  |  | Copy 2 | ----------
DB33 |  |  | Copy 1 | ---------- | ---------- | Copy 2
DB34 | Copy 2 | ---------- | ---------- | Copy 1 |  | 
DB35 | --------- | Copy 2 |  |  | Copy 1 | ----------
DB36 |  |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 | ---------- | Copy 3 | 
DB2 | --------- | Copy 1 | ---------- | Copy 2 |  | Copy 3
DB3 | Copy 3 |  | Copy 1 | ---------- | Copy 2 | ----------
DB4 |  | Copy 3 | ---------- | Copy 1 | ---------- | Copy 2
DB5 | Copy 2 | ---------- | Copy 3 |  | Copy 1 | ----------
DB6 | --------- | Copy 2 |  | Copy 3 | ---------- | Copy 1
DB7 | Copy 1 | ---------- | ---------- | Copy 2 |  | Copy 3
DB8 | --------- | Copy 1 | Copy 3 |  | Copy 2 | ----------
DB9 |  | Copy 3 | Copy 1 | ---------- | ---------- | Copy 2
DB10 | Copy 2 | ---------- | ---------- | Copy 1 | Copy 3 | 
DB11 | --------- | Copy 2 |  | Copy 3 | Copy 1 | ----------
DB12 | Copy 3 |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
DB25 | Copy 1 | ---------- | Copy 2 | ---------- |  | 
DB26 | --------- | Copy 1 | ---------- | Copy 2 |  | 
DB27 |  |  | Copy 1 | ---------- | Copy 2 | ----------
DB28 |  |  | ---------- | Copy 1 | ---------- | Copy 2
DB29 | Copy 2 | ---------- |  |  | Copy 1 | ----------
DB30 | --------- | Copy 2 |  |  | ---------- | Copy 1
DB31 | Copy 1 | ---------- | ---------- | Copy 2 |  | 
DB32 | --------- | Copy 1 |  |  | Copy 2 | ----------
DB33 |  |  | Copy 1 | ---------- | ---------- | Copy 2
DB34 | Copy 2 | ---------- | ---------- | Copy 1 |  | 
DB35 | --------- | Copy 2 |  |  | Copy 1 | ----------
DB36 |  |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 | ---------- | Copy 3 | 
DB2 | --------- | Copy 1 | ---------- | Copy 2 |  | Copy 3
DB3 | Copy 3 |  | Copy 1 | ---------- | Copy 2 | ----------
DB4 |  | Copy 3 | ---------- | Copy 1 | ---------- | Copy 2
DB5 | Copy 2 | ---------- | Copy 3 |  | Copy 1 | ----------
DB6 | --------- | Copy 2 |  | Copy 3 | ---------- | Copy 1
DB7 | Copy 1 | ---------- | ---------- | Copy 2 |  | Copy 3
DB8 | --------- | Copy 1 | Copy 3 |  | Copy 2 | ----------
DB9 |  | Copy 3 | Copy 1 | ---------- | ---------- | Copy 2
DB10 | Copy 2 | ---------- | ---------- | Copy 1 | Copy 3 | 
DB11 | --------- | Copy 2 |  | Copy 3 | Copy 1 | ----------
DB12 | Copy 3 |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
DB25 | Copy 1 | ---------- | Copy 2 | ---------- |  | Copy 3
DB26 | --------- | Copy 1 | ---------- | Copy 2 | Copy 3 | 
DB27 |  | Copy 3 | Copy 1 | ---------- | Copy 2 | ----------
DB28 | Copy 3 |  | ---------- | Copy 1 | ---------- | Copy 2
DB29 | Copy 2 | ---------- |  | Copy 3 | Copy 1 | ----------
DB30 | --------- | Copy 2 | Copy 3 |  | ---------- | Copy 1
DB31 | Copy 1 | ---------- | ---------- | Copy 2 |  | 
DB32 | --------- | Copy 1 |  |  | Copy 2 | ----------
DB33 |  |  | Copy 1 | ---------- | ---------- | Copy 2
DB34 | Copy 2 | ---------- | ---------- | Copy 1 |  | 
DB35 | --------- | Copy 2 |  |  | Copy 1 | ----------
DB36 |  |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 |  |  | 
DB2 | --------- | Copy 1 |  | Copy 2 |  | 
DB3 |  |  | Copy 1 | ---------- | Copy 2 | 
DB4 |  |  | ---------- | Copy 1 |  | Copy 2
DB5 | Copy 2 |  |  |  | Copy 1 | ----------
DB6 |  | Copy 2 |  |  | ---------- | Copy 1
DB7 | Copy 1 | ---------- |  | Copy 2 |  | 
DB8 | --------- | Copy 1 |  |  | Copy 2 | 
DB9 |  |  | Copy 1 | ---------- |  | Copy 2
DB10 | Copy 2 |  | ---------- | Copy 1 |  | 
DB11 |  | Copy 2 |  |  | Copy 1 | ----------
DB12 |  |  | Copy 2 |  | ---------- | Copy 1
… |  |  |  |  |  | 
DB25 | Copy 1 | ---------- | Copy 2 |  |  | 
DB26 | --------- | Copy 1 |  | Copy 2 |  | 
DB27 |  |  | Copy 1 | ---------- | Copy 2 | 
DB28 |  |  | ---------- | Copy 1 |  | Copy 2
DB29 | Copy 2 |  |  |  | Copy 1 | ----------
DB30 |  | Copy 2 |  |  | ---------- | Copy 1
DB31 | Copy 1 | ---------- |  | Copy 2 |  | 
DB32 | --------- | Copy 1 |  |  | Copy 2 | 
DB33 |  |  | Copy 1 | ---------- |  | Copy 2
DB34 | Copy 2 |  | ---------- | Copy 1 |  | 
DB35 |  | Copy 2 |  |  | Copy 1 | ----------
DB36 |  |  | Copy 2 |  | ---------- | Copy 1
… |  |  |  |  |  | 
 | Server1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6
DB1 | Copy 1 | ---------- | Copy 2 | ---------- | Copy 3 | 
DB2 | --------- | Copy 1 | ---------- | Copy 2 |  | Copy 3
DB3 | Copy 3 |  | Copy 1 | ---------- | Copy 2 | ----------
DB4 |  | Copy 3 | ---------- | Copy 1 | ---------- | Copy 2
DB5 | Copy 2 | ---------- | Copy 3 |  | Copy 1 | ----------
DB6 | --------- | Copy 2 |  | Copy 3 | ---------- | Copy 1
DB7 | Copy 1 | ---------- | ---------- | Copy 2 |  | 
DB8 | --------- | Copy 1 |  |  | Copy 2 | ----------
DB9 |  |  | Copy 1 | ---------- | ---------- | Copy 2
DB10 | Copy 2 | ---------- | ---------- | Copy 1 |  | 
DB11 | --------- | Copy 2 |  |  | Copy 1 | ----------
DB12 |  |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 
DB25 | Copy 1 | ---------- | Copy 2 | ---------- |  | Copy 3
DB26 | --------- | Copy 1 | ---------- | Copy 2 | Copy 3 | 
DB27 |  | Copy 3 | Copy 1 | ---------- | Copy 2 | ----------
DB28 | Copy 3 |  | ---------- | Copy 1 | ---------- | Copy 2
DB29 | Copy 2 | ---------- |  | Copy 3 | Copy 1 | ----------
DB30 | --------- | Copy 2 | Copy 3 |  | ---------- | Copy 1
DB31 | Copy 1 | ---------- | ---------- | Copy 2 | Copy 3 | 
DB32 | --------- | Copy 1 |  | Copy 3 | Copy 2 | ----------
DB33 |  | Copy 3 | Copy 1 | ---------- | ---------- | Copy 2
DB34 | Copy 2 | ---------- | ---------- | Copy 1 |  | Copy 3
DB35 | --------- | Copy 2 | Copy 3 |  | Copy 1 | ----------
DB36 | Copy 3 |  | Copy 2 | ---------- | ---------- | Copy 1
… |  |  |  |  |  | 

## Slide 26: Non-Symmetric (Failure Domain) Design
In case of a failure domain scenario we will NOT have perfectly symmetric database distribution, because not all servers are considered equal due to failure domain constraints
  Namely, failed server’s rack partner will host less database copies
Complete the layout and validate the following failure scenarios:
Failure Scenarios | Server 1 | Server 2 | Server 3 | Server 4 | Server 5 | Server 6 | Active Databases
No Failures | 8 | 8 | 8 | 8 | 8 | 8 | 48
Single Failure | X | 8 | 10 | 10 | 10 | 10 | 48
Double Failure | X | X | 12 | 12 | 12 | 12 | 48
Double Failure | X | 10 | X | 10 | 14 | 14 | 48

## Slide 27: In Review: Session Objectives and Takeaways
So what did we learn?
  Math is hard
  Failure domains have to be taken into account when designing Exchange 2010 High Availability
  You can design a solution that provides symmetry with respect to database copy activation
Notes: This slide is recommended as a final slide to recap the objectives of the session to remind attendees what you said would be covered and to highlight that you did indeed cover those points. The objectives listed on this slide should match the objectives covered on the required Objective slide at the beginning of your presentation.
If you have questions, please contact your Track PM listed below:
Track Name, Acronym and Track PM
  Application Server (APS) – Tony Meleg, Joe Klug, Ena Reynen
  Architecture (ARC) – Miha Kralj, Terra Suddarth
  Business Intelligence (BIN) - Pej Javaheri
  Business Solutions (MSDY) - Pattie Grimm, Scarlet Leung
  Database (DB) – Kevin Ashby, Dandy Weyn, Maxine Coo
  Development Tools & Technologies (DEV) – Bijan Javidi
  IT Service Management (ITSM) - Bebe Acciavatti
  Management, Operations & Deployment (MOD) – Aurora Santiago, Jennifer Culp, Lindsey Harper
  Office 365 (OFC) (Formerly Microsoft Online Services (MOS))- Mike Naughton, Lori Skinner-Studley
  Office and SharePoint (OSP) – Matt Berg, Lita Spratt, Hila Grinberger, Monica Woolley Watson
  Optimization (OPT) – Michael McGuire, Yoav Land, Chris Jackson
  ReadyTech (RT) - Joe Culp, KariLynne Gratzer
  Security, Identity & Privacy (SIP) – Michelle Moore, Diana Tynes, Jennifer Culp
  Unified Communications (UC)– Lauren Horgan, Navin Chand, Jackie Steinke
  Virtualization (VIR) – Aurora Santiago, Jennifer Culp, Lindsey Harper
  Windows Azure platform (AZR) - Vikram Rana, Sabrina Johnson
  Windows Client (CLI) – Susie Kandzor, Angie Nelson
  Windows Phone (WP) – Larry Lieberman, Sanjay Rajashekar, Tim McAfee
  Windows Server (SVR) – Aurora Santiago, Jennifer Culp, Lindsey Harper
Cross Track Coverage
Application Platform – APS/DB/AZR/ARC Private Cloud – Aurora Santiago
  Competition – Jules Dickerson User Experience – Jeff Jurvis, Alison Clark
  Midsize IT – Jason Buffington Windows Client Development – Angie Nelson
  Next Web – Olga Londer Windows Embedded – Olivier Bloch

## Slide 28
© 2011 Microsoft Corporation. All rights reserved. Microsoft, Windows, Windows Vista and other product names are or may be registered trademarks and/or trademarks in the U.S. and/or other countries.
The information herein is for informational purposes only and represents the current view of Microsoft Corporation as of the date of this presentation. Because Microsoft must respond to changing market conditions, it should not be interpreted to be a commitment on the part of Microsoft, and Microsoft cannot guarantee the accuracy of any information provided after the date of this presentation. MICROSOFT MAKES NO WARRANTIES, EXPRESS, IMPLIED OR STATUTORY, AS TO THE INFORMATION IN THIS PRESENTATION.